## Overview of the model
VNI West RIT-T PACR assessment - offshore wind sensitivity
Legend applied throughout the model
Table Row Name
Input Cell
Calculation cell
Parameter Cell
Output Cell
| Date | 2020-05-05

## R1 Interface and results
R1 Interface and results
Interface for scenario settings and key results
Scenario settings
| Parameters |  |  |  | S1 | S2 | S3
| General parameters |  |  | Unit | Step | Progressive | Hydrogen
| Commercial discount rate |  |  | Percent | 5.5% | 5.5% | 5.5%
| Cost parameters |  |  | Unit | Step | Progressive | Hydrogen
| Capital cost (network) |  |  | Factor | 1 | 1 | 1
| Capital cost (battery) |  |  | Factor | 1 | 1 | 1
| Operating expenditure |  |  | Factor | 1 | 1 | 1
| Benefit parameters |  |  | Unit | Step | Progressive | Hydrogen
| Avoided involuntary load shedding |  |  | Factor | 1 | 1 | 1
| Avoided unrelated TNSP expenditure |  |  | Factor | 1 | 1 | 1
| Avoided fuel consumption from generation dispatch |  |  | Factor | 1 | 1 | 1
| Avoided voluntary load curtailment |  |  | Factor | 1 | 1 | 1
| Avoided costs for non RIT-T proponent parties |  |  | Factor | 1 | 1 | 1
| Scenario weightings |  |  | Unit | Step | Progressive | Hydrogen
| Weightings |  |  | % | 0.52 | 0.3 | 0.18
| Opex - percentage of capex |  |  | % | 1%
Weighted NPV results
| Net present value ($, PV) | S1
| Option | Step | Rank |  | Option | Core Step Change results | Offshore wind sensitivity
| Option 5 | 959.0191 | 1 |  | Option 5 | 1826.862 | 959.0191
| Option 5A | 912.5691 | 2 |  | Option 5A | 1827.3178 | 912.5691
| Net present value ($, PV) | S1
| Option | Step
| Option 5 | 100%
| Option 5A | 95.16%

## I1 General Inputs
I1 General Inputs
Inputs and parameters for RIT-T assessment
General parameter and option inputs
General parameters
| Parameter |  | Unit | Value
| First year of analysis |  | Year | 2023
| Base year for dollar inputs |  | Year | 2021
| Analysis period |  | Years | 28
Option descriptions
| Option name |  | Option 1/0 | Short description
| Base case |  | 1 | Do nothing
| Option 5 |  | 1 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country)
| Option 5A |  | 1 | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country)
Sensitivity inputs
| Cost and benefit categories |  |  |  | Scenarios
| Cost categories |  |  |  | Scenario | Name
| Capital cost (network) |  |  |  | S1 | Step
| Capital cost (battery) |  |  |  | S2 | Progressive
| Operating expenditure |  |  |  | S3 | Hydrogen
| Benefit categories |  |  | Benefit input category
| Avoided involuntary load shedding |  |  | Involuntary load shedding
| Avoided unrelated TNSP expenditure |  |  | Timing of unrelated network expenditure
| Avoided fuel consumption from generation dispatch |  |  | Avoided generation dispatch costs
| Avoided voluntary load curtailment |  |  | Avoided voluntary load curtailment
| Avoided costs for non RIT-T proponent parties |  |  | Cost for non-RIT-T proponent parties
RIT market benefits
| NER | RIT-T market benefits
| 5.15A.2(c)(4)(i) | changes in fuel consumption arising through different patterns of generation dispatch
| 5.15A.2(c)(4)(ii) | changes in voluntary load curtailment
| 5.15A.2(c)(4)(iii) | changes in involuntary load shedding
| 5.15A.2(c)(4)(iv) | changes in costs for parties, other than the RIT-T proponent
| 5.15A.2(c)(4)(v) | differences in the timing of expenditure
| 5.15A.2(c)(4)(vi) | changes in network losses
| 5.15A.2(c)(4)(vii) | changes in ancillary services costs
| 5.15A.2(c)(4)(viii) | competition benefits
| 5.15A.2(c)(4)(ix) | any additional option value
Colour scheme
| Colour | R | B | G
| Green | 0 | 134 | 152
| Dark grey | 105 | 106 | 109
| Tan | 181 | 169 | 145
| Red | 201 | 75 | 32
| Brown | 167 | 147 | 68
| Navy | 36 | 44 | 49

## I2 CBA Inputs
I2 CBA Inputs
Inputs and parameters for the VNI West PACR RIT-T assessment
| Cost inputs |  | All years refer to financial years
| Capital cost (network) |  |  | Step | Progressive | Hydrogen |  |  |  | Build profile for step change
| Option | Component | Total amount | S1 | S2 | S3 | Asset life | Opex |  | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051
| Option 5 | NSW early works | 49507365.4486 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 5498581.9661; Build profile for step change 2023: 17032648.1417; Build profile for step change 2024: 20032628.0748; Build profile for step change 2025: 3797808.5126; Build profile for step change 2026: 3145698.7533; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | NSW 500kV substation works | 354291294.0282 | 2032 | 2039 | 2031 | 40 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 2001563.1451; Build profile for step change 2028: 60117611.0504; Build profile for step change 2029: 202730822.8294; Build profile for step change 2030: 85313529.1078; Build profile for step change 2031: 4127767.8955
| Option 5 | NSW 500kV line works | 750574480 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 5085059.2852; Build profile for step change 2028: 152731437.4414; Build profile for step change 2029: 380480245.6974; Build profile for step change 2030: 201790961.52; Build profile for step change 2031: 10486776.056
| Option 5 | NSW 500kV PEC Enhanced Line Works (Dinawan to Wagga) | 181500000 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 163350000; Build profile for step change 2025: 18150000; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | NSW power flow control and repeater site | 183096275.9835 | 2032 | 2039 | 2031 | 40 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 1034399.5582; Build profile for step change 2028: 31068532.8426; Build profile for step change 2029: 104770451.0746; Build profile for step change 2030: 44089679.1255; Build profile for step change 2031: 2133213.3827
| Option 5 | NSW property/land access/easements | 65651275.2543 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 35908505.9575; Build profile for step change 2026: 29742769.2968; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | NSW biodiversity offset costs | 66479309.3566 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 66479309.3566; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC early works | 60216139.4561 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 6687961.9928; Build profile for step change 2023: 20716923.7651; Build profile for step change 2024: 24365819.4067; Build profile for step change 2025: 4619299.8749; Build profile for step change 2026: 3826134.4166; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC 500kV substation works | 378701979.8779 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 2139470.9344; Build profile for step change 2028: 64259717.1143; Build profile for step change 2029: 216698985.5011; Build profile for step change 2030: 91191635.0418; Build profile for step change 2031: 4412171.2863
| Option 5 | VIC 500kV line works | 772036826.6455 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 5230464.3156; Build profile for step change 2028: 157098725.6205; Build profile for step change 2029: 391359910.7307; Build profile for step change 2030: 207561085.1806; Build profile for step change 2031: 10786640.7981
| Option 5 | VIC power flow control and repeater site | 163655081.9172 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 924566.8352; Build profile for step change 2028: 27769670.6833; Build profile for step change 2029: 93645906.5648; Build profile for step change 2030: 39408229.415; Build profile for step change 2031: 1906708.4189
| Option 5 | VIC property/land access/easements | 53062200 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 29022807.515; Build profile for step change 2026: 24039392.485; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC biodiversity offset costs | 12452000 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 7567201.8141; Build profile for step change 2027: 4884798.1859; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC WRL Option C2 incremental - substation works | 36760000 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 367600; Build profile for step change 2024: 6249200; Build profile for step change 2025: 20953200; Build profile for step change 2026: 8822400; Build profile for step change 2027: 367600; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC WRL Option C2 incremental - lines works | 262100000 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 2621000; Build profile for step change 2024: 52420000; Build profile for step change 2025: 133671000; Build profile for step change 2026: 70767000; Build profile for step change 2027: 2621000; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC WRL Option C2 incremental - power flow control and repeater site | 0 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC WRL Option C2 incremental - land/access/easements | 15900000 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 8696636.0137; Build profile for step change 2024: 7203363.9863; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5 | VIC WRL Option C2 incremental - biodiversity offset costs | 0 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | NSW early works | 49507365 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 5498581.9163; Build profile for step change 2023: 17032647.9874; Build profile for step change 2024: 20032627.8933; Build profile for step change 2025: 3797808.4782; Build profile for step change 2026: 3145698.7248; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | NSW 500kV substation works | 354291294 | 2032 | 2039 | 2031 | 40 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 2001563.1449; Build profile for step change 2028: 60117611.0456; Build profile for step change 2029: 202730822.8133; Build profile for step change 2030: 85313529.101; Build profile for step change 2031: 4127767.8952
| Option 5A | NSW 500kV line works | 830658835 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 5627621.954; Build profile for step change 2028: 169027486.6432; Build profile for step change 2029: 421076503.469; Build profile for step change 2030: 223321535.0058; Build profile for step change 2031: 11605687.928
| Option 5A | NSW 500kV PEC Enhanced Line Works (Dinawan to Wagga) | 181500000 | 2032 | 2039 | 2031 | 50 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 163350000; Build profile for step change 2025: 18150000; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | NSW power flow control and repeater site | 183096276 | 2032 | 2039 | 2031 | 40 | NSW |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 1034399.5583; Build profile for step change 2028: 31068532.8454; Build profile for step change 2029: 104770451.0841; Build profile for step change 2030: 44089679.1294; Build profile for step change 2031: 2133213.3829
| Option 5A | NSW property/land access/easements | 71843764 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 39295538.7022; Build profile for step change 2026: 32548225.2978; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | NSW biodiversity offset costs | 73227867 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 73227867; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC early works | 60216139.4561 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 6687961.9928; Build profile for step change 2023: 20716923.7651; Build profile for step change 2024: 24365819.4067; Build profile for step change 2025: 4619299.8749; Build profile for step change 2026: 3826134.4166; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC 500kV substation works | 378701979.8779 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 2139470.9344; Build profile for step change 2028: 64259717.1143; Build profile for step change 2029: 216698985.5011; Build profile for step change 2030: 91191635.0418; Build profile for step change 2031: 4412171.2863
| Option 5A | VIC 500kV line works | 772036826.6455 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 5230464.3156; Build profile for step change 2028: 157098725.6205; Build profile for step change 2029: 391359910.7307; Build profile for step change 2030: 207561085.1806; Build profile for step change 2031: 10786640.7981
| Option 5A | VIC power flow control and repeater site | 163655081.9172 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 924566.8352; Build profile for step change 2028: 27769670.6833; Build profile for step change 2029: 93645906.5648; Build profile for step change 2030: 39408229.415; Build profile for step change 2031: 1906708.4189
| Option 5A | VIC property/land access/easements | 53062200 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 29022807.515; Build profile for step change 2026: 24039392.485; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC biodiversity offset costs | 12452000 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 7567201.8141; Build profile for step change 2027: 4884798.1859; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC WRL Option C2 incremental - substation works | 36760000 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 367600; Build profile for step change 2024: 6249200; Build profile for step change 2025: 20953200; Build profile for step change 2026: 8822400; Build profile for step change 2027: 367600; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC WRL Option C2 incremental - lines works | 262100000 | 2032 | 2039 | 2031 | 50 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 2621000; Build profile for step change 2024: 52420000; Build profile for step change 2025: 133671000; Build profile for step change 2026: 70767000; Build profile for step change 2027: 2621000; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC WRL Option C2 incremental - power flow control and repeater site | 0 | 2032 | 2039 | 2031 | 40 | VIC |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC WRL Option C2 incremental - land/access/easements | 15900000 | 2032 | 2039 | 2031 | NA |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 8696636.0137; Build profile for step change 2024: 7203363.9863; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Option 5A | VIC WRL Option C2 incremental - biodiversity offset costs | 0 | 2032 | 2039 | 2031 | 50 |  |  | Build profile for step change 2022: 0; Build profile for step change 2023: 0; Build profile for step change 2024: 0; Build profile for step change 2025: 0; Build profile for step change 2026: 0; Build profile for step change 2027: 0; Build profile for step change 2028: 0; Build profile for step change 2029: 0; Build profile for step change 2030: 0; Build profile for step change 2031: 0
| Operating expenditure |  | 2032 | bar: Build profile for step change 2022 to Build profile for step change 2045
| Option name |  | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 36700259.7914 | 0 | 0
| Option 5A | Option 5 without series compensation | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 37654689.5753 | 0 | 0
NNO proponent charges | bar: Build profile for step change 2022 to Build profile for step change 2045
| Option name |  | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 5A | Option 5 without series compensation | $, real | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
'Market benefit' inputs | bar: Build profile for step change 2022 to Build profile for step change 2045
| Involuntary load shedding |  | 5.15A.2(c)(4)(ii) | bar: Build profile for step change 2022 to Build profile for step change 2045
| Step | S1 | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real |  | 51769001.4314 | 50322586.7253 | 102248293.8857 | 17716993.0129 | 89.9293 | 88402434.1112 | 99.8316 | 105.3504 | 111.411 | 117.2516 | 123.7097 | 130.5392 | 138.0674 | 145.213 | 153.2974 | 161.6254 | 171.0037 | 179.9097 | 189.8182 | 200.2901 | 211.9818 | 223.0856 | 235.1902 | 248.2518 | 262.5341 | 276.2786 | 291.422
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real |  | 51770213.56 | 50835900.7103 | 102842379.5151 | 18258485.6129 | 168.8609 | 87156586.5068 | 187.4431 | 197.8235 | 209.1762 | 220.1314 | 232.2616 | 245.0738 | 259.1866 | 272.6316 | 287.8628 | 303.4494 | 321.0497 | 337.7973 | 356.3584 | 376.02 | 397.9597 | 418.7823 | 441.5243 | 465.9859 | 492.8512 | 518.5977 | 547.0577
| Option 5A | Option 5 without series compensation | $, real |  | 51770245.5985 | 50855333.3966 | 102843794.5339 | 18265841.8722 | 210.1991 | 87154700.0197 | 233.3305 | 246.2491 | 260.3829 | 274.0177 | 289.1174 | 305.0659 | 322.6324 | 339.3709 | 358.329 | 377.7323 | 399.6379 | 420.4854 | 443.5853 | 468.0606 | 495.375 | 521.2875 | 549.6027 | 580.0522 | 613.4936 | 645.5396 | 680.969
| Timing of unrelated network expenditure |  | 5.15A.2(c)(4)(i) | bar: Build profile for step change 2022 to Build profile for step change 2045
| Step | S1 | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real |  | 148712.6928 | 1819968.7436 | 1982346.2829 | 4498734.0201 | 9826700.6125 | 89665485.0155 | 89706686.8325 | 112025416.168 | 118975055.698 | 166098403.016 | 209290442.3527 | 212426628.4289 | 212941814.5052 | 222020400.0208 | 338715246.4538 | 375318267.502 | 499787617.3896 | 614163543.986 | 639160067.7962 | 862520861.7327 | 976337429.4963 | 988422109.0598 | 1019005778.2598 | 1256103577.46 | 1370862472.2404 | 1492343528.0614 | 1593781369.8179
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real |  | 148713.1977 | 1807215.0196 | 1994713.6994 | 5501978.969 | 7399103.189 | 86070059.6939 | 86268981.9489 | 99362518.422 | 105659772.1798 | 165104234.6765 | 205494940.0155 | 211650795.5055 | 212854949.6514 | 214590542.1763 | 300481317.7559 | 327040651.883 | 449107238.6907 | 528494579.2138 | 557481189.1562 | 764046633.9367 | 886549161.7376 | 926305329.7075 | 947516425.1074 | 1180778135.85 | 1278976106.7164 | 1397071523.4601 | 1433898320.8413
| Option 5A | Option 5 without series compensation | $, real |  | 148713.6492 | 1807227.3366 | 1994733.8581 | 5498376.3797 | 7181358.0054 | 85845643.8629 | 86038954.4235 | 99128793.0635 | 105445150.4572 | 164533036.0233 | 204925032.3389 | 211054886.5407 | 212253591.5754 | 213980979.2094 | 299029684.3236 | 325413850.5528 | 447265514.3305 | 525891797.8468 | 554404011.0913 | 758571657.9838 | 880202349.8228 | 920826734.7907 | 942650839.8242 | 1175819423.0655 | 1275371793.0787 | 1387780744.9883 | 1425516503.3781
| Avoided generation dispatch costs |  | 5.15A.2(c)(4)(iii) | bar: Build profile for step change 2022 to Build profile for step change 2045
| Step | S1 | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real |  | 2410229935.5538 | 2039619735.0368 | 2110871109.2044 | 1953545342.2138 | 1664024208.2249 | 1602506233.1244 | 1491747379.2207 | 1501382720.8769 | 1230927660.7672 | 1312302940.4025 | 1359384779.5692 | 1700766725.6992 | 1219200089.7647 | 1266991183.6629 | 1241413543.5155 | 1106505319.7605 | 1400309139.0621 | 1130335018.5228 | 775203560.1122 | 876805520.4453 | 1370269134.1256 | 945275374.687 | 1017570599.4763 | 1374006668.3005 | 946323835.4705 | 1284384585.943 | 1108067245.2698
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real |  | 2409993573.6912 | 2043298299.9023 | 2115427357.0505 | 1965725770.0316 | 1661008884.3135 | 1592813712.9319 | 1474039973.6922 | 1537993532.7078 | 1203596686.1819 | 1172759441.1163 | 1253901925.8946 | 1580681332.6458 | 1108879687.4205 | 1130093795.9184 | 1138174664.3152 | 1009928122.4762 | 1313635542.962 | 1158669174.7378 | 716790746.8272 | 856492298.0104 | 1327582225.4204 | 904554354.5414 | 1003387192.645 | 1343822469.7314 | 921404553.1789 | 1271001547.7136 | 1168034557.507
| Option 5A | Option 5 without series compensation | $, real |  | 2409991156.6948 | 2043348863.809 | 2115505847.4106 | 1965894713.0701 | 1660081978.421 | 1592861346.5203 | 1474184481.4503 | 1537672318.9595 | 1203954649.1238 | 1173018218.6979 | 1253556439.7165 | 1580475038.2544 | 1109130248.9864 | 1131679439.2298 | 1138781982.4227 | 1011384685.9456 | 1309110655.3633 | 1160423379.7793 | 716154467.2546 | 859087786.7891 | 1326003351.4108 | 903681636.5328 | 1003332911.53 | 1338537737.2508 | 921741466.4475 | 1271193741.5672 | 1165363291.3847
| Avoided voluntary load curtailment |  | 5.15A.2(c)(4)(iv) | bar: Build profile for step change 2022 to Build profile for step change 2045
| Step | S1 | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real |  | 19354162.1661 | 21658933.2351 | 41995316.2334 | 29265319.4734 | 22561144.2322 | 28890183.1546 | 1109821.3493 | 9605478.6481 | 2273925.2553 | 7712005.161 | 20607538.7423 | 8452129.5596 | 15260396.5858 | 847995.6327 | 48131103.9009 | 35881.7149 | 36073869.2115 | 41048140.7362 | 54721921.6521 | 70549619.8967 | 168972149.0434 | 236757507.5501 | 260858551.7702 | 316643800.0051 | 309337468.4879 | 367170665.2642 | 345068682.4361
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real |  | 19354449.2162 | 21659447.2141 | 42407975.9934 | 30440537.8412 | 22265292.4639 | 28890639.7357 | 130136.6264 | 13774081.1186 | 3023734.0303 | 11187326.0974 | 4708812.3441 | 3666145.6593 | 31721973.2166 | 485860.5261 | 79495287.5725 | 60743.1008 | 28383092.8634 | 25764660.4204 | 32028774.9936 | 39188865.3938 | 103726490.5818 | 167425059.5148 | 152940910.685 | 204215180.3806 | 276158936.4017 | 299319365.8987 | 329656369.9705
| Option 5A | Option 5 without series compensation | $, real |  | 19354589.1838 | 21659596.9024 | 42416572.1052 | 30467328.3751 | 22245401.503 | 28890827.7089 | 130307.3026 | 13787448.1891 | 3023202.1305 | 10090489.3101 | 4688749.2375 | 3528639.6301 | 31264754.1393 | 490601.0307 | 80215655.3248 | 61077.5829 | 28560845.7064 | 25574384.2523 | 32008796.8887 | 38778328.4321 | 101987903.1762 | 166665100.9687 | 152717845.6767 | 199931261.6516 | 274503994.2085 | 300817203.0405 | 328276731.6551
| Cost for non-RIT-T proponent parties |  | 5.15A.2(c)(4)(v) | bar: Build profile for step change 2022 to Build profile for step change 2045
| Step | S1 | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052
| Base case |  | $, real |  | 689292111.8154 | 1709572189.553 | 1989424582.686 | 2389370818.6031 | 3316068350.0154 | 4760441367.746 | 5330693165.5074 | 6353961936.1001 | 6761339293.5434 | 7956046986.3482 | 9029267439.3717 | 9577613864.9084 | 10388845218.3324 | 10965446946.8496 | 12971631781.334 | 13538836778.4374 | 15309796127.0163 | 16419879398.3777 | 17505025303.9958 | 19175203241.2237 | 20230407552.529 | 20661758424.4264 | 20827393786.1483 | 23144531846.659 | 23666462490.9376 | 25040434577.7492 | 24959270364.082
| Option 5 | VNIW (via Bulgana and Kerang) with series compensation on Kerang – Bulgana | $, real |  | 689289747.9447 | 1698108279.4997 | 1977124556.1527 | 2367918222.6709 | 3299002091.8184 | 4733216671.2943 | 5283719366.4927 | 6177820224.0089 | 6602953155.1044 | 7915345567.5942 | 8895249920.9949 | 9474282070.5814 | 10203780014.0671 | 10761208365.6211 | 12776669814.5344 | 13343334302.2252 | 15042022017.4036 | 15998666194.1675 | 17120858872.8086 | 18687052644.7901 | 19797983264.6561 | 20209998115.249 | 20307529347.6883 | 22578180390.8542 | 23082206476.7472 | 24431337656.7313 | 24198796063.1361
| Option 5A | Option 5 without series compensation | $, real |  | 689289679.6311 | 1697951464.4285 | 1976972136.2639 | 2367642404.8179 | 3300063918.1159 | 4733235115.8107 | 5283301296.7684 | 6178929604.0694 | 6603459464.4359 | 7918513577.5432 | 8898206747.8009 | 9475973649.1127 | 10204918843.342 | 10759823000.4468 | 12776987723.853 | 13344077093.6599 | 15052552092.431 | 16000879919.3024 | 17130445213.5564 | 18682690652.8746 | 19799900429.5769 | 20212200415.3616 | 20302671663.0423 | 22582946050.828 | 23081133525.7458 | 24428042659.0339 | 24206643950.7196

## I3 Opex
I3 Opex
Opex inputs for the VNI West PACR RIT-T assessment
Opex inputs for network components
| CPI: All groups CPI Australia | Index
| 2021-06-01 | 118.8
| 2022-06-01 | 126.1
| 2022-09-01 | 128.4
| 2022-12-01 | 130.8
Transmission compensation costs
| NSW transmission land payments | Unit | Value
| Opex - percentage of capex | % | 1%
| NSW transmission payments | Unit | Value
| Private land percentage | Percentage | 85%
| Total payment per km | $, Dec 22 | 200000
| Total payment per km | $, Jun 21 | 181651.3761
| Annual payment per km | $, Jun 21 | 9082.5688
| NSW transmission payments | Unit | Length | Annual payment
| Option 5 | km | 184 | 1420513.7615
| Option 5A | km | 203 | 1567197.2477
| VIC transmission payments | Unit | Value
| Selection |  | VNI VIC
| Private land percentage | Percentage | 95%
| Annual payment per km | $, Dec 22 | 8000
| Total payment per km | $, Jun 21 | 7266.055
| VIC transmission payments | Unit | VNI VIC | VNI VIC
| Option 5 | km | 205 | 1415064.2202
| Option 5A | km | 206 | 1421966.9725
| VIC land tax |  | 2022-12-01 | 2021-06-01
| Option | Unit | VNI VIC | VNI VIC
| Option 5 | $ | 2136276 | 1940287.3761
| Option 5A | $ | 2136276 | 1940287.3761
Opex on capital assets
| Capex attracting opex |  | NSW | VIC
| Option 5 | $, real | 1518969415.4603 | 1673470027.8967
| Option 5A | $, real | 1599053770 | 1673470027.8967
NSW opex
| Option name | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Base case | $, real | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 5 | $, real | [8 empty] | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161 | 16610207.9161
| Option 5A | $, real | [8 empty] | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477 | 17557734.9477
VIC opex
| Option name | Unit | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Base case | $, real | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Option 5 | $, real | [8 empty] | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753 | 20090051.8753
| Option 5A | $, real | [8 empty] | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276 | 20096954.6276

## S1
S1 | Step
Calculating costs, benefits and NPV for each option
Parameters for S1
Parameters
| General parameters |  |  | Unit | Active | Scenario
| Commercial discount rate |  |  | Percent | 5.5% | 5.5%
| Cost parameters |  |  | Unit | Active | Scenario
| Capital cost (network) |  |  | Factor | 1 | 1
| Capital cost (battery) |  |  | Factor | 1 | 1
| Operating expenditure |  |  | Factor | 1 | 1
| Benefit parameters |  |  | Unit | Active | Scenario
| Avoided involuntary load shedding |  |  | Factor | 1 | 1
| Avoided unrelated TNSP expenditure |  |  | Factor | 1 | 1
| Avoided fuel consumption from generation dispatch |  |  | Factor | 1 | 1
| Avoided voluntary load curtailment |  |  | Factor | 1 | 1
| Avoided costs for non RIT-T proponent parties |  |  | Factor | 1 | 1
Incremental net present value calculation
| Net present value for each option |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
| Option name |  | Units | NPV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 959019059.2009 | -62291611.7972 | -273383785.4182 | -238838350.9123 | -207665240.2412 | -17736710.0619 | -470240742.3838 | -1347928289.4089 | -600256612.8526 | 114171825.2252 | 161582230.211 | 141063402.7722 | 222494232.4435 | 192278629.8779 | 242310513.922 | 312227574.714 | 268370196.6694 | 303632026.1143 | 376118450.9225 | 457131075.4043 | 510250843.4391 | 601598365.646 | 593444677.0292 | 587230101.2226 | 676754373.4033 | 747589238.0829 | 697539703.9837 | 748902761.1037 | 2895897236.6391
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 912569074.9073 | -62291611.5903 | -273381472.3841 | -242138727.1495 | -217155355.6176 | -18202942.1201 | -486434117.1822 | -1388364510.9338 | -621283813.4074 | 112485056.9034 | 159978630.5694 | 138350167.0118 | 219518375.9591 | 190572270.9561 | 241025207.0047 | 311677622.5162 | 267221734.6732 | 302104633.9914 | 370822726.6389 | 455001690.291 | 503443421.423 | 608295859.873 | 600237258.2393 | 591184540.2921 | 685800451.5936 | 756396398.253 | 702580447.1212 | 758843949.5516 | 2959556401.5615
Present value of market benefits for each option
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 3120033591.1577 | 0 | 237226.0495 | 7284270.9477 | 6724665.8812 | 6552212.1977 | 22804952.3685 | 41758032.9892 | 69098506.5381 | 148025103.0628 | 198282490.0023 | 177763662.5635 | 259194492.2348 | 228978889.6693 | 279010773.7134 | 348927834.5053 | 305070456.4608 | 340332285.9057 | 412818710.7139 | 493831335.1957 | 546951103.2304 | 638298625.4374 | 630144936.8205 | 623930361.0139 | 713454633.1946 | 784289497.8743 | 734239963.7751 | 785603020.895 | 875802094.5153
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 3129408130.1066 | 0 | 239538.9022 | 7370927.4207 | 6788564.1207 | 6628542.8082 | 22907626.77 | 41918069.2292 | 69601879.4662 | 147457246.6129 | 197633320.1446 | 176004856.5871 | 257173065.5344 | 228226960.5314 | 278679896.58 | 349332312.0915 | 304876424.2485 | 339759323.5667 | 408477416.2142 | 492656379.8663 | 541098110.9983 | 645950549.4483 | 637891947.8145 | 628839229.8674 | 723455141.1689 | 794051087.8283 | 740235136.6965 | 796498639.1269 | 880386794.9214
Present value of costs for each option
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | -2161014531.9567 | -62291611.7972 | -273621011.4678 | -246122621.86 | -214389906.1224 | -24288922.2596 | -493045694.7524 | -1389686322.3981 | -669355119.3907 | -33853277.8376 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | 2020095142.1238
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | -2216839055.1993 | -62291611.5903 | -273621011.2863 | -249509654.5703 | -223943919.7383 | -24831484.9283 | -509341743.9522 | -1430282580.163 | -690885692.8736 | -34972189.7095 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | 2079169606.6401
| Incremental cost calculation |  |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
[14 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
| Capital outflow | Commission in 2031/32 |  | 2032
| Option name | Capex component | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | Annual depreciation | Years in analysis | Terminal value
| Option 5 | NSW early works | $ | -36550137.9483 | -22833652.116 | -20032628.0748 | -3797808.5126 | -3145698.7533 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30694566.5781 | 990147.309 | 19 | 30694566.5781
| Option 5 | NSW 500kV substation works | $ | -190613517.461 | 0 | 0 | 0 | 0 | -2001563.1451 | -60117611.0504 | -202730822.8294 | -85313529.1078 | -4127767.8955 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 186002929.3648 | 8857282.3507 | 19 | 186002929.3648
| Option 5 | NSW 500kV line works | $ | -388866576.8473 | 0 | 0 | 0 | 0 | -5085059.2852 | -152731437.4414 | -380480245.6974 | -201790961.52 | -10486776.056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 465356177.6 | 15011489.6 | 19 | 465356177.6
| Option 5 | NSW 500kV PEC Enhanced Line Works (Dinawan to Wagga) | $ | -129941788.9521 | 0 | -163350000 | -18150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112530000 | 3630000 | 19 | 112530000
| Option 5 | NSW power flow control and repeater site | $ | -98508277.7576 | 0 | 0 | 0 | 0 | -1034399.5582 | -31068532.8426 | -104770451.0746 | -44089679.1255 | -2133213.3827 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96125544.8914 | 4577406.8996 | 19 | 96125544.8914
| Option 5 | NSW property/land access/easements | $ | -37846136.8555 | 0 | 0 | -35908505.9575 | -29742769.2968 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65651275.2543 | 0 | 19 | 65651275.2543
| Option 5 | NSW biodiversity offset costs | $ | -42140775.7096 | 0 | 0 | 0 | -66479309.3566 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41217171.8011 | 1329586.1871 | 19 | 41217171.8011
| Option 5 | VIC early works | $ | -44456177.0534 | -27772723.6675 | -24365819.4067 | -4619299.8749 | -3826134.4166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37334006.4628 | 1204322.7891 | 19 | 37334006.4628
| Option 5 | VIC 500kV substation works | $ | -203746797.2562 | 0 | 0 | 0 | 0 | -2139470.9344 | -64259717.1143 | -216698985.5011 | -91191635.0418 | -4412171.2863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 198818539.4359 | 9467549.4969 | 19 | 198818539.4359
| Option 5 | VIC 500kV line works | $ | -399986045.3259 | 0 | 0 | 0 | 0 | -5230464.3156 | -157098725.6205 | -391359910.7307 | -207561085.1806 | -10786640.7981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 478662832.5202 | 15440736.5329 | 19 | 478662832.5202
| Option 5 | VIC power flow control and repeater site | $ | -88048651.8874 | 0 | 0 | 0 | 0 | -924566.8352 | -27769670.6833 | -93645906.5648 | -39408229.415 | -1906708.4189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85918918.0065 | 4091377.0479 | 19 | 85918918.0065
| Option 5 | VIC property/land access/easements | $ | -30588884.6069 | 0 | 0 | -29022807.515 | -24039392.485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53062200 | 0 | 19 | 53062200
| Option 5 | VIC biodiversity offset costs | $ | -7698389.5475 | 0 | 0 | 0 | -7567201.8141 | -4884798.1859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7720240 | 249040 | 19 | 7720240
| Option 5 | VIC WRL Option C2 incremental - substation works | $ | -25497669.3316 | -367600 | -6249200 | -20953200 | -8822400 | -367600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19299000 | 919000 | 19 | 19299000
| Option 5 | VIC WRL Option C2 incremental - lines works | $ | -176546701.7174 | -2621000 | -52420000 | -133671000 | -70767000 | -2621000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162502000 | 5242000 | 19 | 162502000
| Option 5 | VIC WRL Option C2 incremental - power flow control and repeater site | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0
| Option 5 | VIC WRL Option C2 incremental - land/access/easements | $ | -10582293.7944 | -8696636.0137 | -7203363.9863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15900000 | 0 | 19 | 15900000
| Option 5 | VIC WRL Option C2 incremental - biodiversity offset costs | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0
| Option 5A | NSW early works | $ | -36550137.6171 | -22833651.9091 | -20032627.8933 | -3797808.4782 | -3145698.7248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30694566.3 | 990147.3 | 19 | 30694566.3
| Option 5A | NSW 500kV substation works | $ | -190613517.4459 | 0 | 0 | 0 | 0 | -2001563.1449 | -60117611.0456 | -202730822.8133 | -85313529.101 | -4127767.8952 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 186002929.35 | 8857282.35 | 19 | 186002929.35
| Option 5A | NSW 500kV line works | $ | -430357634.4541 | 0 | 0 | 0 | 0 | -5627621.954 | -169027486.6432 | -421076503.469 | -223321535.0058 | -11605687.928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 515008477.7 | 16613176.7 | 19 | 515008477.7
| Option 5A | NSW 500kV PEC Enhanced Line Works (Dinawan to Wagga) | $ | -129941788.9521 | 0 | -163350000 | -18150000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112530000 | 3630000 | 19 | 112530000
| Option 5A | NSW power flow control and repeater site | $ | -98508277.7665 | 0 | 0 | 0 | 0 | -1034399.5583 | -31068532.8454 | -104770451.0841 | -44089679.1294 | -2133213.3829 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96125544.9 | 4577406.9 | 19 | 96125544.9
| Option 5A | NSW property/land access/easements | $ | -41415934.6337 | 0 | 0 | -39295538.7022 | -32548225.2978 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71843764 | 0 | 19 | 71843764
| Option 5A | NSW biodiversity offset costs | $ | -46418639.8566 | 0 | 0 | 0 | -73227867 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45401277.54 | 1464557.34 | 19 | 45401277.54
| Option 5A | VIC early works | $ | -44456177.0534 | -27772723.6675 | -24365819.4067 | -4619299.8749 | -3826134.4166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 37334006.4628 | 1204322.7891 | 19 | 37334006.4628
| Option 5A | VIC 500kV substation works | $ | -203746797.2562 | 0 | 0 | 0 | 0 | -2139470.9344 | -64259717.1143 | -216698985.5011 | -91191635.0418 | -4412171.2863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 198818539.4359 | 9467549.4969 | 19 | 198818539.4359
| Option 5A | VIC 500kV line works | $ | -399986045.3259 | 0 | 0 | 0 | 0 | -5230464.3156 | -157098725.6205 | -391359910.7307 | -207561085.1806 | -10786640.7981 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 478662832.5202 | 15440736.5329 | 19 | 478662832.5202
| Option 5A | VIC power flow control and repeater site | $ | -88048651.8874 | 0 | 0 | 0 | 0 | -924566.8352 | -27769670.6833 | -93645906.5648 | -39408229.415 | -1906708.4189 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85918918.0065 | 4091377.0479 | 19 | 85918918.0065
| Option 5A | VIC property/land access/easements | $ | -30588884.6069 | 0 | 0 | -29022807.515 | -24039392.485 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53062200 | 0 | 19 | 53062200
| Option 5A | VIC biodiversity offset costs | $ | -7698389.5475 | 0 | 0 | 0 | -7567201.8141 | -4884798.1859 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7720240 | 249040 | 19 | 7720240
| Option 5A | VIC WRL Option C2 incremental - substation works | $ | -25497669.3316 | -367600 | -6249200 | -20953200 | -8822400 | -367600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19299000 | 919000 | 19 | 19299000
| Option 5A | VIC WRL Option C2 incremental - lines works | $ | -176546701.7174 | -2621000 | -52420000 | -133671000 | -70767000 | -2621000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 162502000 | 5242000 | 19 | 162502000
| Option 5A | VIC WRL Option C2 incremental - power flow control and repeater site | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0
| Option 5A | VIC WRL Option C2 incremental - land/access/easements | $ | -10582293.7944 | -8696636.0137 | -7203363.9863 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15900000 | 0 | 19 | 15900000
| Option 5A | VIC WRL Option C2 incremental - biodiversity offset costs | $ | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0
| Capital cost (network) |  |  |  | 1.113 | 1.1742 | 1.2388 | 1.307 | 1.3788 | 1.4547 | 1.5347 | 1.6191 | 1.7081 | 1.8021 | 1.9012 | 2.0058 | 2.1161 | 2.2325 | 2.3553 | 2.4848 | 2.6215 | 2.7656 | 2.9178 | 3.0782 | 3.2475 | 3.4262 | 3.6146 | 3.8134 | 4.0231 | 4.2444 | 4.4778 | 4.7241
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | -1911618822.052 | -62291611.7972 | -273621011.4678 | -246122621.86 | -214389906.1224 | -24288922.2596 | -493045694.7524 | -1389686322.3981 | -669355119.3907 | -33853277.8376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2056795401.9152
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | -1960957541.2466 | -62291611.5903 | -273621011.2863 | -249509654.5703 | -223943919.7383 | -24831484.9283 | -509341743.9522 | -1430282580.163 | -690885692.8736 | -34972189.7095 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2116824296.2154
[14 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Operating expenditure
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | -249395709.9047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914 | -36700259.7914
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | -255881513.9527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753 | -37654689.5753
Incremental 'market benefits' calculation
Avoided involuntary load shedding
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | -452057.0424 | 0 | -1212.1287 | -513313.9851 | -594085.6294 | -541492.5999 | -78.9316 | 1245847.6045 | -87.6116 | -92.4731 | -97.7652 | -102.8798 | -108.5519 | -114.5346 | -121.1192 | -127.4187 | -134.5654 | -141.824 | -150.046 | -157.8876 | -166.5402 | -175.7299 | -185.9778 | -195.6967 | -206.3342 | -217.7341 | -230.3172 | -242.3191 | -255.6356
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | -473583.3128 | 0 | -1244.1671 | -532746.6713 | -595500.6482 | -548848.8593 | -120.2698 | 1247734.0915 | -133.4989 | -140.8987 | -148.9719 | -156.7661 | -165.4077 | -174.5267 | -184.5651 | -194.1579 | -205.0316 | -216.1069 | -228.6342 | -240.5757 | -253.7671 | -267.7705 | -283.3931 | -298.202 | -314.4125 | -331.8003 | -350.9595 | -369.2609 | -389.547
Avoided unrelated TNSP expenditure
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 322162947.5304 | 0 | -0.50492 | 12753.724 | -12367.4165 | -1003244.949 | 2427597.4235 | 3595425.3216 | 3437704.8836 | 12662897.7459 | 13315283.5182 | 994168.3394 | 3795502.3372 | 775832.9234 | 86864.8538 | 7429857.8445 | 38233928.6979 | 48277615.6189 | 50680378.6989 | 85668964.7722 | 81678878.64 | 98474227.796 | 89788267.7587 | 62116779.3524 | 71489353.1523 | 75325441.61 | 91886365.524 | 95272004.6013 | 159883048.9766
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 340277006.4875 | 0 | -0.95642 | 12741.407 | -12387.5752 | -999642.3597 | 2645342.6071 | 3819841.1526 | 3667732.409 | 12896623.1044 | 13529905.2408 | 1565366.9927 | 4365410.0139 | 1371741.8882 | 688222.9298 | 8039420.8114 | 39685562.1302 | 49904416.9491 | 52522103.0591 | 88271746.1392 | 84756056.7049 | 103949203.7489 | 96135079.6735 | 67595374.2691 | 76354938.4355 | 80284154.3945 | 95490679.1617 | 104562783.0732 | 168264866.4398
Avoided fuel consumption from generation dispatch
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 444607355.5368 | 0 | 236361.8626 | -3678564.8655 | -4556247.8461 | -12180427.8178 | 3015323.9114 | 9692520.1924 | 17707405.5285 | -36610811.8309 | 27330974.5854 | 139543499.2863 | 105482853.6746 | 120085393.0533 | 110320402.3442 | 136897387.7444 | 103238879.2003 | 96577197.2844 | 86673596.1001 | -28334156.215 | 58412813.285 | 20313222.4349 | 42686908.7052 | 40721020.1456 | 14183406.8313 | 30184198.5691 | 24919282.2916 | 13383038.2294 | -59967312.2372
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 446356058.546 | 0 | 238778.859 | -3729128.7722 | -4634738.2062 | -12349370.8564 | 3942229.8039 | 9644886.6041 | 17562897.7704 | -36289598.0826 | 26973011.6435 | 139284721.7046 | 105828339.8527 | 120291687.4447 | 110069840.7783 | 135311744.4331 | 102631561.0928 | 95120633.815 | 91198483.6988 | -30088361.2564 | 59049092.8577 | 17717733.6562 | 44265782.7148 | 41593738.1542 | 14237687.9464 | 35468931.0497 | 24582369.023 | 13190844.3757 | -57296046.1149
Avoided voluntary load curtailment
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 131041247.7751 | 0 | -287.0501 | -513.9789 | -412659.76 | -1175218.3678 | 295851.7683 | -456.5811 | 979684.7228 | -4168602.4704 | -749808.775 | -3475320.9364 | 15898726.3982 | 4785983.9002 | -16461576.6308 | 362135.1066 | -31364183.6716 | -24861.3859 | 7690776.3481 | 15283480.3158 | 22693146.6584 | 31360754.5029 | 65245658.4616 | 69332448.0353 | 107917641.0851 | 112428619.6245 | 33178532.0862 | 67851299.3655 | 15412312.4656
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 133907880.8823 | 0 | -427.0177 | -663.6673 | -421255.8718 | -1202008.9017 | 315742.7292 | -644.5542 | 979514.0467 | -4181969.5409 | -749276.8752 | -2378484.1491 | 15918789.5047 | 4923489.9295 | -16004357.5535 | 357394.602 | -32084551.4239 | -25195.868 | 7513023.5052 | 15473756.4839 | 22713124.7634 | 31771291.4646 | 66984245.8672 | 70092406.5814 | 108140706.0935 | 116712538.3535 | 34833474.2795 | 66353462.2236 | 16791950.781
Avoided costs for non RIT-T proponent parties
| Option name |  | Units | PV | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
| Option 5 | VNIW (via Bulgana and Kerang) crossing the Murray River near Echuca (Yorta Yorta Country) | $ | 2222674097.3578 | 0 | 2363.8707 | 11463910.0533 | 12300026.5333 | 21452595.9322 | 17066258.197 | 27224696.4517 | 46973799.0147 | 176141712.0913 | 158386138.439 | 40701418.754 | 134017518.3768 | 103331794.327 | 185065204.2653 | 204238581.2285 | 194961966.7996 | 195502476.2123 | 267774109.6127 | 421213204.2102 | 384166431.1873 | 488150596.4336 | 432424287.8729 | 451760309.1774 | 519864438.46 | 566351455.8047 | 584256014.1905 | 609096921.0179 | 760474300.9459
| Option 5A | VNIW (via Bulgana and Kerang) crossing the Murray River north of Kerang (Wamba Wamba Country) | $ | 2209340767.5036 | 0 | 2432.1843 | 11620725.1246 | 12452446.4221 | 21728413.7852 | 16004431.8994 | 27206251.9353 | 47391868.739 | 175032332.0307 | 157879829.1075 | 37533408.8051 | 131060691.5708 | 101640215.7957 | 183926374.9904 | 205623946.4028 | 194644057.481 | 194759684.7775 | 257244034.5853 | 418999479.0753 | 374580090.4395 | 492512588.3491 | 430507122.9521 | 449558009.0648 | 524722123.1059 | 561585795.8309 | 585328965.1919 | 612391918.7153 | 752626413.3625